

|  |  |
| --- | --- |
| **SAN DIEGO AIR POLLUTION CONTROL DISTRICT****COMPLIANCE DIVISION 10124 OLD GROVE ROAD SAN DIEGO CA 92131-1649****PHONE (858) 586-2650 FAX (858) 586-2651** |  **APCD USE ONLY**  |
| SECTOR \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| ID# \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| NOV# \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

LIQUID CONDENSATE TRAP (LCT) COMPLIANCE PROCEDURE

Exhibit 9 of VR-201 and Exhibit 11of VR-202 And Exhibit 16 of VR 203/204

**Facility Name:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ A/C or PO Number:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Time of Test:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** (Record exact time of test to demonstrate proper test sequencing as

specified in Permit to Operate Attachments A or L).

Capacity of LCT in gallons:\_\_\_\_\_\_\_\_\_\_\_\_

Time in Minutes for alarm activation after adding fuel:\_\_\_\_\_\_\_\_\_\_

|  |  |
| --- | --- |
| 1) Gasoline below 90 percent capacity level of UST? | [ ]  Yes [ ]  No |
| 2) Is metal tag specifying LCT capacity installed above Fuel Entry Point? | [ ]  Yes [ ]  No |
| 3) Did control panel indicate both visual and audible alarms? | [ ]  Yes [ ]  No |
| 4) Did LCT evacuate and sensor alarms clear? | [ ]  Yes [ ]  No |

**Attach alarm sensor status printout to this form.**

03/21